## Sheet1
Name | Type | Units | Comment
Address | int | -
Timeout | int | ms
NPLC | float | -
VsRange | int | V
IsRange | float | A
ImRange | float | A
SPs | int | - | Number of setpoints (different voltage values)
delay_SetVoltage | float | s | Delay between setting voltages and starting measurement
ppSP | int |  | Number of points taken for each setpoint
delay_trig | float | s | Delay between measurements in each setpoint
zeroCheck | bool | -
Verbose | bool | -